## Slide 1: AOTF Characterization ExoMars/TGO/NOMAD Solar Occultation (SO) channel Geronimo Villanueva Giuliano Liuzzi NASA/GSFC – March/2021

## Slide 2: Base calibration parameters

## Slide 3: Line area of solar line at 4383.5 cm-1 (Mg) vs. AOTF frequency [cm-1]
Without temperature correction
With temperature correction
2018, 2019, 2020
2018, 2019, 2020

## Slide 4: AOTF model

## Slide 5: Contaminants and multiple sincs
The AOTF profile may be contaminated with solar lines from other orders.
How this affect the profile would appear intractable, but due to the AOTF and grating system, the contaminations only occur for lines exactly at distances of blaze times order.
These contaminations would appear as a shifted sinc at that position, and can be easily identified and removed.
These are not part of the AOTF transfer function - They are simply representations from another line!
These contaminant sincs are actually very useful for further refining the asymmetry and shape of the AOTF.

## Slide 6: AOTF model

## Slide 7: AOTF model

## Slide 8
Analysis of several lines across the SO spectral range

## Slide 22
Determining a “recipe”

## Slide 24
How many orders to include to achieve a certain SNR considering this new AOTF model?
Study for altitudes: 5, 25, 50, 100 km
Orders:
121: HDO/CO2
134: H2O/CH4
148: CO2
168/169: H2O/CO2
191: CO

## Slide 35: Preliminary conclusions
The miniscans data can be mostly described with a single asymmetric sinc
A new global “recipe” has been determined.
Information about a systematic “offset” is not possible to derive from the solar mini-scans and an independent study on the Mars data is needed. We are exploring full-scans and several orders in order to accurately quantify this extended AOTF response.
All codes and documentation for this study are available at: https://github.com/nasapsg/ExoMars